## Slide 1
Implementing Variant Analysis Software
with AI features
North West GLH
University of Manchester NHS FT
24th June 2025
Ronnie Wright
Christopher Campbell
Elizabeth Sollars
Slide 1: Title slide

## Slide 2
Ronnie Wright – Principal Clinical Scientist
Christopher Campbell – Principal Clinical Scientist
Elizabeth Sollars – Translational Bioinformatics Lead
Algorithmic logic Human Inference/Expertise
Artificial Intelligence
What is AI?
Personal Disclaimer: I’m not quite sure

## Slide 3
Part of a wider transformation project:
Specialist Gene Panels
Slide 2: Project Context
Enrichment chemistry:
Custom Clinical ‘Exome’
Lab technology:
Library preparation
Analysis software:
AI
Multiple teams
Multiple ‘specialist’ services
Notes: Eager to ensure the assessment of AI was an assessment of the AI performance alone, as opposed to other influencing factors

## Slide 4
Desired features of (any) prospective software
Maintain/improve existing sensitivity
Increased efficiency:
Positive cases
Negative cases
Specificity
Reduce variant volume?
User Experience
Reduce assessment time?
Reach decision/conclusion quickly and easily

## Slide 5
AI prioritization
Slide 3: Software Assessment & Validation
Variant detection
Tested extensively on known positive cases
Range of variant types (including ‘challenging’ variants)
Pre-existing NWGLH variant classification database (‘training set’)
All positive variants of interest removed before testing (to avoid bias)
Real world scenarios (No HPO terms on referrals)
AI variant classification (ACMG criteria)

## Slide 6
Specialty | Total cases | Total variants of interest | Total CNVs | SNV | INDEL
Haematology | 52 | 68 | 10 | 51 | 7
Deafness | 49 | 74 | 11 | 45 | 18
Cardiac | 52 | 57 | 11 | 32 | 14
Metabolic | 13 | 21 | 0 | 13 | 8
Immunology | 31 | 35 | 0 | 27 | 8
Opthalmology | 30 | 42 | 0 | 30 | 12
FH | 30 | 34 | 0 | 25 | 9
Total | 257 | 331 | 32 | 223 | 76
Cases selected to include a representative range of variant types
CNVs limited to 3x specialties to minimize effort in PON creation
Cases/Variants of interest

## Slide 7
Sensitivity was broken down as for Emedgene (v2.31) as follows
  Sensitivity of promotion of variant of interest to AI categories
  Sensitivity of detection of variant of interest in total unfiltered variant set
AI sensitivity: 91.6% (294/321)
Sensitivity Measure | Total variants of interest | Total variants of interest detected | Total variants of interest undetected | %age sensitivity estimate (+/-95% CI)
A | 331 | 294 | 37 | 88.8% (84.9-92.0)
B | 331 | 321 | 10 | 97.0% (94.5-98.5)
Software sensitivity

## Slide 8
Designed presets to capture the ~10% variants not promoted by AI
Presets enable continued analysis when AI negative
Performance: Higher sensitivity and specificity than previous software, even with presets enabled
Sensitivity of promotion of variant of interest to AI categories and pre-sets
Sensitivity of detection of variant of interest in total unfiltered variant set
Sensitivity Measure | Total variants of interest | Total variants of interest detected | Total variants of interest undetected | %age sensitivity estimate (+/-95% CI)
A | 331 | 312 | 19 | 94.3% (91.2-96.5)
B | 331 | 321 | 10 | 97.0% (94.5-98.5)
AI plus generic preset performance: 97.2% (312/321)
Slide 4: Implementation of Presets

## Slide 9
100 cases across 2 specialties
Parallel Analysis study
Specialty | Total no. variants AI | Total No. variants existing software | %AI vs existing software | Total No. variants AI & presets
Deafness | 319 | 659 | 48.4% | 738
Cardiac | 84 | 317 | 26.5% | 210
Total | 403 | 976 | 41.3% | 948
Category | Deafness | Cardiac | Total | % of total
AI | 30 | 10 | 40 | 93%
Presets | 2 | 1 | 3 | 7%
Clinically reported variants
Total no. variants prioritized
Specificity is dependent on:
Accepted levels of sensitivity
Approach to ‘rescue’ presets
False positive variant detection

## Slide 10
Tendency of AI to under-classify
AI does not automate inclusion of PS4, PP4, BS1, BS2 or BP5 classifiers
Calculation excludes 6 hypomorphic/complex variants in dataset
288 clinically reported SNV/Indel variants across 7 RD specialties
AI classification: small variants

## Slide 11
29 clinically reported CNVs across 3 RD specialties
Consistent under-classification of AI relative to SNVs
Likely due to use of ACMG technical standards framework for CNVs (Riggs et al., 2020)
AI classification: CNV

## Slide 12
Exceptional AI performance
More sophisticated presets using Boolean logic
  Example: Retain synonymous variants only if splice effect predicted
AI continually improving via internal curated data
Slide 5: Attractive Features of Software
Separation of analysis & curation

## Slide 13
Patient centric
Variant/ observation centric
Evidence/ Classificationcentric
GnomAD
ClinVar
HGMD
Clinical Variant Arc
Slide 6: Separation of Analysis & Curation
DGV

## Slide 14
Analyze
Patient centric
Emedgene
Variant/ observation centric
Evidence/ Classificationcentric
Curate
Avoids conflicts caused by multiple classification records across patients
Single, authoritative classification record with history — improves accuracy
De-couples patient analysis ("Analyze") from variant classification ("Curate")

## Slide 15
Slide 7: Importance of Data Curation
Integration with local CurVE system:
  Holding and approval stage for curation
  Single coordinated source of truth for AI
What and how to record in "Curate" is critical
AI only as good as curated data from which it learns

## Slide 16
Integration of local scripts for case labelling:
  Negative label if zero variants found
  Positive label if e.g. curated P/LP dominant variant present
Stratifies cases for assignment:
  Obvious negative
  Obvious positive
  Scientific review required
Slide 8: Semi-Automation & Workflow Stratification

## Slide 17
Slide 9: Summary & Impact
Positioned well for future AI improvements
Streamlined workflows with clear roles and data transparency
AI performance and curated data synergy key to success
Thoughtful integration enhanced sensitivity and specificity

## Slide 18
NWGLH
Christopher Campbell
Elizabeth Sollars
Andrew Wallace
David Gokhale
Stephanie Barton
Simon Ramsden
Emma McCarthy
Diane Cairns
Stuart Gillies
Fern Johnson
Sam Rowlston
Rob McMahon
Jessica Howes
Acknowledgements
Illumina
Claire Logan
Tom Payne
Amy Priestman
Daniel Forth
Sam Hamlett

## Slide 19
Thank you!
Questions?
Slide 10: Q&A